KING ARTHUR VILLAGE

CAMELOT, BLUE DOWNS

SECTIONAL TITLE

ANNEXURE C

BUILDING SPECIFICATIONS and SCHEDULE OF FINISHES

These building specifications and schedule of finishes contain information about the material and finishes to be provided. Should any specified material and/or finish not be readily available at the Contractor’s supplier(s) at the required time, then the closest readily available alternative will be selected and used by the Contractor and/or his agent(s). The material, finishes, designs and other aspects of the houses already built and/or in the process of being built by the seller/contractor in its show village at Stellendale and other developments do not form the basis or provide an indication of the building specifications, schedule of finishes, designs or any other aspects to be provided as described herein.

1
Roofs

1.1
Double Roman concrete roof tiles; or equal approved by the Architect; colour to be determined by the Architect.

1.2
Gutters to be 125 mm half round white uPVC; down pipes to be 80 mm round white uPVC.

1.3        High Density Nutec (225x10 mm) fascia (or equal approved by the Architect), and painted.

2
Walls

2.1   
Cavity external walls to be built with either Traditional Maxi concrete blocks (222x115x90 mm) or Super Maxi concrete blocks (290x157x90 mm), with one coat wood floated plaster externally and one coat steel floated plaster internally, and painted.

2.2
Plaster bands around windows and doors to Architects detail, including horizontal “V” groove cut into plaster at weephole level and painted a darker shade.

                          2.3
Single skin internal walls to be built with either Traditional Maxi concrete blocks (222x115x90 mm) or Super Maxi concrete blocks (290x157x90 mm), with one coat steel floated plaster and painted.

3
Windows and doors

3.1
Anodised/powder coated aluminium windows with top hung outward opening sashes with burglar bars to Architects detail on all opening sashes; or equal approved by the Architect; colour to be determined by the Architect.

3.2
External window sills to be plastered and painted to match walls, and to be sloped to falls externally.

3.3
Internal window sills to be plastered and painted to match walls.

3.4
Varnished hardwood external front and rear doors and frames; and fitted with satin chromed brass hinges.

3.5
Internal doors to be hollow-core “Albany” pattern flush doors, fitted in steel door frames, and painted; colour(s) to be selected by the Architect.

3.6
Single curtain tracks on all bathroom and kitchen windows, double tracks on lounge and bedrooms.

4
Wall tiling and mirrors

4.1
Wall tiles as per sample boards.

4.2        Mirror (600x400 mm) above basin in each bathroom. 

4.3
PVC edging to be installed at selected corners.

4.4
Three rows x200 mm (600 mm) high wall tiles above work top(s) in kitchen.

                          4.5      
Three rows x200 mm (600 mm) high wall tiles above bath; nine rows x200 mm (1800 mm) high wall tiles to shower; two rows x200 mm wall tiles (splash back) above basin in bathroom(s).

4.6
Wall tiles above bath extended to height of shower arm on bath end wall and up to window edge where shower is over bath.

5
Floor finishes

5.1
Floor tiles as per sample boards.

5.2
Carpets as per sample boards.  van Dijk, Cottage Weave (or equal approved by the Architect).

5.3
Floors of living/dining area, kitchen, passage and bathroom(s) to be finished with tiles.

5.4
Floors of bedrooms to be finished with carpeting.


6
Ceilings

6.1
Rhino board with 75 mm cove cornices, skimmed and painted.

7
Painting

7.1        Plascon Polvin range paint; or equal approved by the Architect.

7.2      
Exterior walls, fascias and other applicable exterior surfaces to be painted with exterior grade super acrylic PVA; colour(s) to be selected by the Architect.

7.3
Ceilings and cornices to be painted with exterior grade super acrylic white PVA. 

7.4
Interior walls and other applicable interior surfaces to be painted with exterior grade super acrylic PVA; colour(s) to be selected by the Architect.

8
Ironmongery

8.1
3-lever mortice locksets on front and rear external doors.

8.2
2-lever mortice locksets on internal doors.

8.3
Satin chromed lever handles on all doors.

8.4
Satin chromed cover with opening on front door, for mail.

8.5
Satin chromed knocker on front door.

9
Joiner

9.1
White Melamine (or equal approved by the Architect) built-in cupboard as per plan in main bedroom only, to manufacturer’s design.

9.2
White Melamine (or equal approved by the Architect) built-in floor cupboard(s) only in kitchen as per plan, to manufacturer’s design.

9.3
Cupboard door handles as per sample range.

9.4
Formica (or equal approved by the Architect) kitchen counter top(s) as per sample range.

9.5
Kitchen to be fitted with built-in BOSCH HEA10B250 stainless steel undercounter oven and NCM615A01 solid plate stainless steel hob; or equal approved by the Architect. 

9.6
Painted 75x20 mm hardwood skirting, except where tiling finished to floor level.

10
Lighting and electrical

10.1
Two telephone points: one in living/dining area and one in main bedroom.

10.2
One double plug point in each bedroom.

10.3
Two double plug points in kitchen and two double plug points in dining/living area.

10.4
One 300 mm diameter ceiling mounted white alabaster glass with satin chrome clips light fitting ex Eagle Lighting DLX2775/23 (2 x 60W ES lamp) in each of the bedrooms, bathroom(s), kitchen, passage, lounge area and dining area; or equal approved by the Architect.

10.5
Shallow non-corrosive opal round bulkhead external light fitting ex eagle Lighting CF07 16W 2D lamp) outside front door/kitchen door and patio door and along side boundary space (where applicable); or equal approved by the Architect.

10.6
Pre-paid electrical meter and electrical distribution board.

10.7    The position of telephone, light, plug, meter and distribution board points to be determined by the Architect.

10.8
PVR enabled DSTv dish per block and cabling to outlet in lounges.

11 Bathroom fittings

11.1 1700x700 mm Plexicor bath with no handles; Isca Mix 81 bath mixer # 8100CH; Isca Nicci bath spout and overflow # 1811CH; 750 mm single towel rail; or equal approved by the Architect.

11.2 One 150 litre/400 KPa hot water cylinder per house.

11.3
Libra 600 mm combo basin and vanity, with white lacquer sprayed cupboard underneath; Isca Mix 81 basin mixer # 8119 CH; or equal approved by the Architect.

11.4
Lesico Atlas close coupled WC pan and double flush cistern; or equal approved by the Architect.

11.5     Isca Mix 81 shower mixer # 8100CH; Isca Mix 81 shower arm # 9300CH; Isca Mix 81 shower rose # 9913CH; Pivoting/sliding glass door, 1.8 m high, with powder coated aluminium frame for shower panels; or equal approved by the Architect.

11.6
Isca Mix 81 diverter bath mixer; Isca Mix 81 shower arm #9300CH and Isca Mix 81 shower rose #9913CH in fixed position over the bath for E and F-type units only; or equal approved by the Architect.

12
Kitchen fittings

12.1
Quinline 900 mm drop-in sink # QLX611; Isca Chloe sink mixer # EX 7003CH; or equal approved by the Architect.

12.2      Washing machine point in kitchen, if applicable, where indicated on plan.

13
External works

13.1
50 mm concrete pavers with rust edge and tan main body on front stoep, as per plan.

13.2
Lawn on side walk, in front garden area and in certain areas only in backyard.

13.3
Automated irrigation system to cover most of sidewalk and front garden.

13.4
Manual irrigation system in certain areas only in backyard. 

13.5
Indigenous tree in front garden (where applicable); type of tree and position to be determined by the Architect.

13.6
Vibracrete panel fence in rear garden, as per plan; plastered concrete block wall in certain designated areas, as determined by the Architect.

13.7
Varnished SA Pine gate 1.8 m high, and panel, if applicable, along side of apartment; position and size to be determined by the Architect.  

13.8
Washing lines in communal drying yard; position to be determined by the Architect.

13.9
One 1/2” garden tap in backyard; position to be determined by the Architect.

                                                               --- o ---

King Arthur Village and Mews - Sectional Title - 11 Nov 09

3 of 3

